| Company Name |  | Utility Services (NE) LTD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location |  | Nationwide |  |  |  |  | Project Title |  |  |  | Manual Pole Operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk Assessment No. |  | 006 |  |  | Review Date |  |  |  |  | 14.11.2023 |  |  |  | Revision No. |  |  |  | 004 |  |  |  |  |  |  |  |  |  |  |
| Person Supervising Work |  | Gang Foreman |  |  |  |  | Employer |  |  |  |  |  | USL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Persons Exposed (tick box) |  | ✓ |  | Employees |  |  |  | ✓ | Other workers |  |  |  |  |  |  | Public/visitors |  |  |  |  |  | Young Persons | Estimated total number of persons at risk |  |  |  |  |  |
|  |  |  |  | New/expectant mothers |  |  |  |  |  |  |  |  |  |  |  | Vulnerable Persons |  |  |  |  |  | Other |  |  |  |  |  |  |
| Likelihood Severity Rating 1 = Very Unlikely Rating 1 = No Injury Severity Rating 2 = Unlikely Rating 2 = Minor injury or illness Rating 3 = Likely Rating 3 = 7-day injury or illness Rating 4 = Very Likely Rating 4 = Specified injury or illness Likelihood Rating 5 = Almost Certain Rating 5 = Fatality, disabling injury, and so on |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Likelihood Risk = Likelihood x Severity Acceptable Medium High |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazard(s) | 1 |  | 2 |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 5 |  | 6 |  | 7 |  |  | 8 |  | 9 |  |  |
|  | Factors of Harm |  |  |  |  | Risk (Likelihood x Severity) |  |  |  |  |  | Control Measures |  |  |  |  | Factor of Harm |  |  |  | Residual Risk (Likelihood x Severity) |  |  | Control measures implemented by (name) |  | Low Risk |  |  |
|  | Likelihood (1-5) |  | Severity (1-5) |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood (1-5) |  | Severity (1-5) |  |  |  |  |  |  | YES |  | NO |
| Covid 19 | 4 |  | 5 |  |  | 20 |  |  |  |  |  | A separate Covid 19 Risk Assessment must complete by all operatives before any work commences. |  |  |  |  | 1 |  | 5 |  | 5 |  |  | Gang Foreman |  | ✓ |  |  |
| Pedestrians/vehicles | 2 |  | 3 |  |  | 6 |  |  |  |  |  | All operatives must wear HV clothing Sign and guard the working area in line with chapter 8 Use banksman whilst moving equipment in public areas Ensure public have clear access/egress |  |  |  |  | 1 |  | 3 |  | 3 |  |  | Gang Foreman |  | ✓ |  |  |
| Underground services | 3 |  | 4 |  |  | 12 |  |  |  |  |  | Read and implement the controls outlined in “Risk Assessment No 005” “Excavation of Pole Holes |  |  |  |  | 1 |  | 4 |  | 4 |  |  | Gang Foreman |  | ✓ |  |  |
| Overhead services | 3 |  | 5 |  |  | 15 |  |  |  |  |  | Read and implement the controls outlined in “Risk Assessment No 004 Avoiding Danger From Overhead Services” |  |  |  |  | 1 |  | 5 |  | 5 |  |  | Gang Foreman |  | ✓ |  |  |

| Hazard | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Factors of Harm |  | Risk (Likelihood x Severity) | Control Measures | Factor of Harm |  | Residual Risk (Likelihood x Severity) | Control measures implemented by (name) | Acceptable Risk |  |
|  | Likelihood (1-5) | Severity (1-5) |  |  | Likelihood (1-5) | Severity (1-5) |  |  | YES | NO |
| Head injury | 2 | 4 | 8 | All operatives must wear safety helmets. | 1 | 4 | 4 | Gang Foreman | ✓ |  |
| Manual Handling | 3 | 4 | 12 | Avoid Manual handling where possible. All operatives must be trained in manual handling. Where possible uses mechanical aids. Minimise the load required Share lifting tasks and minimise the load required. | 1 | 4 | 4 | Gang Foreman | ✓ |  |
| Use of tower scaffold | 2 | 4 | 8 | Avoid working at height where possible. Use of 3rd Party Company where possible. Ensure all operatives have received adequate training. Do not use in high winds (winds over 17mph. | 1 | 4 | 4 | Gang Foreman | ✓ |  |
| Slippery muddy wet conditions | 2 | 3 | 6 | If the ground is slippery, muddy or wet, due consideration should be given to whether this deems the operation to be unsafe. The gang Forman is to make the decision as to continue or not and to record his decision in the gang site log and as part of the site specific risk assessment Correct footwear to be worn at all times. Keep the work are tidy and maintain good housekeeping. | 1 | 3 | 3 | Gang Foreman | ✓ |  |
| Strong gusty winds | 2 | 3 | 6 | Should the working area be exposed to strong/gusty winds that make it unsafe to work, the operation MUST BE suspended. | 1 | 3 | 3 | Gang Foreman | ✓ |  |
| Falling objects from height | 2 | 4 | 8 | When working at height only use tools that are required. Make sure PPE is in good working condition. Tools to be transferred from ground to working platform in safe manner. | 1 | 4 | 4 | Gang foreman | ✓ |  |
| Covid 19 | 4 | 5 | 20 | Social Distancing must be maintained at all times, operatives are to follow guidelines and use the ‘Step In Step Out’ process. Hand sanitiser must be used on a regular basis and operatives must try not swap tools where possible. | 1 | 5 | 5 | Gang Foreman | ✓ |  |
| Covid 19 | 4 | 5 | 20 | A supervisor must be present when operatives are working to ensure best practice is adhered to. | 1 | 5 | 5 | Gang Foreman | ✓ |  |
| Covid 19 | 4 | 5 | 20 | When lifting the pole into the excavation all operatives are to wear RPE. The primary standard is a JSP Full Respiratory Face Mask with built in ventilation. The secondary standard is a 3M of Reusable JSP Face Covering. No lifting can be done without the correct RPE being used. | 1 | 5 | 5 | Gang Foreman | ✓ | C |
|  |  | Name |  | Position |  | Signature |  | Date |  |  |
| Persons Conducting Assessment |  | Chris Alexander |  | Head of HSEQ |  | C.Alexander |  | 14.11.2023 REV- 14.11.2024 |  |  |
|  |  | Justin Marshall |  | Managing Director |  | J.Marshall |  | 14.11.2023 REV- 14.11.2024 |  |  |

This risk assessment must be communicated to operatives before work commences. A spare briefing sheet should be used and be made available to the operatives for reference